MAINTENANCE DEPARTMENT

OGDEN CITY SCHOOL DISTRICT

2444 ADAMS AVENUE

OGDEN, UT. 84401

SPECIFICATIONS	Hereinafter to install a galvanized steel curtain for the cafeteria and removal and disposal of old door and provide labor and accessories required to properly install materials in a workmanlike manner at the following school:

# Mound Fort Jr. School

1396 Liberty Avenue

Ogden, Utah

SPECIFICATIONS			NO SUBSTITUTIONS

Quantity:                            3 Doors

Size:                                  2 doors -16’ 0” X 11’8”

1 door – 8’4” X 11’8

Model:                                Cookson FDOA Auto Re-Set Fire Doors

22 Gauges Galvanized Steel Curtain

Powder coat curtain & Bottom Bar (Red)

Interior Face Mounted

Motor Operated

Safety Reversing Edge

Provide power for the new doors

Doors need to be hooked up to the fire alarm by the contractor

If there are any questions or additional information is needed by the contractor, he can contact the Foreman of Buildings and Grounds for clarification.

NOTE:  Each contractor will be responsible for taking his own measurements.

Remove existing doors, operators, and dispose. After installation of the door is complete, the contractor will clean up all dirt, debris, or spots: and clean up with a vacuum cleaner.

Purchasing Department                                                             Bid #RFP 1-021

BOARD OF EDUCATION, OGDEN CITY, UTAH

Room No. 209

1950 Monroe Blvd.

Ogden, Utah

Quote your lowest net price, terms, and time of delivery on the following items F.O.B. Ogden City School District.

Bids will be received until 2:30 p.m., March 10, 2011.

Furnish and install and removal and disposal, as hereafter specified, steel curtain, labor, and other accessories as hereafter specified, including the furnishing of all labor, plant, equipment, appliances, and material for performing the operation in connection with the construction at the following school:

Mound Fort Jr. High School

Installed Curtain Door Total Price $___________________

The price inserted must be net and is to include delivery charges, transportation to site and any other surcharge. The price must be good for one year.

BONDS:  A certified check or bid bond of not less than five percent [5%] of the amount of the bid is to accompany the bid. The bid bonds of the unsuccessful bidders will be returned within 5 days after the award of the bid.  The Board of Education will also require a 100% full performance and 100% full payment bonds.

Sealed bids will be received until 2:30 p.m., March 10, 2011 at the office of the Director of Support Services 1950 Monroe Blvd., Ogden Utah 84401.

Envelopes to be marked:  "Mound Fort Jr. High Steel Curtain Bid RFP #1-021."

The Board of Education reserves the right to accept or reject any or all bids or to make an award of contract based on acceptance of other than low bid.

BIDDER: To complete this information

1. DELIVERY PROMISED _____________________

2. TERMS: Net 30 unless discounts are offered__________________________

3. DATE OF BID _______________________

____________________________________________

Signature and Title of Person Submitting Bid

____________________________________________

Company Name of Company Submitting Bid

____________________________________________

Gary Reed

Director of Support Services

REQUISITION NO.______________________________

PURCHASE ORDER NO.___________________________

INVITATION TO BID

Sealed bids will be received by the Board of Education of Ogden City School District for a Steel Curtain for the cafeteria at Mound Fort Jr. High.  Bids will be in accordance with drawings and specifications prepared by Ogden City School District and the same may be obtained at the pre-bid walk through.

A mandatory pre-bid walk through meeting will be held at the site of Mount Fort Jr. High School, 1396 Liberty Ave., Ogden, Utah, commencing at 2:15 p.m. on March 3, 2011.

The Director of Support Services at the Administration Building, 1950 Monroe Blvd., Ogden, Utah 84401 will receive bids until the hour of 2:30 p.m. on March 10, 2011. Envelopes must be labeled Mound Fort Steel Curtain Door Replacement RFP #1-021.

A bid bond in the amount of five percent (5%) of the bid, made payable to the Board of Education of Ogden City School District, shall accompany bid.  If a certified or cashier's check is used in lieu of a bid bond, a certificate from an approved surety company guaranteeing execution of a 100% Performance Bond and 100% Payment Bond must accompany bid.

The Board of Education of Ogden City School District reserves the right to reject any or all bids or to waive any informality or technicality in any bid in the interest of the District.

BOARD OF EDUCATION OF OGDEN CITY SCHOOL DISTRICT

GARY REED, DIRECTOR OF SUPPORT SERVICES

INSTRUCTIONS TO BIDDERS