MAINTENANCE DEPARTMENT

OGDEN CITY SCHOOL DISTRICT

2444 ADAMS AVENUE

OGDEN, UT. 84401

SPECIFICATIONS	Furnish all labor and materials required for a roof repair at the following school:

Highland Jr. High                             325 Gramercy Avenue

SPECIFICATIONS			NO SUBSTITUTIONS

- Sweep loose gravel and haul away.

- Install ¼” Densdeck over existing built up roof deck.

- Use Rhino Bond plates to achieve system 90 mph warranty 10/field, 16/perimeter, 24/corners.

- 60 mil Sarnafil Sika Plan PVC.

- Terminate membrane to walls and caulk.

- Install white coated metal at perimeters.

- Seal all pipes and roof penetrations.

- 15 year Material and Labor warranty from Manufacturer.

INSTALLATION:	All repairs will be installed by skilled

workmen with proper supervision.

If there are any questions or additional information is needed by the contractor, he can contact the Supervisor of Buildings and Grounds for clarification.

NOTE: Each contractor will be responsible for taking his own measurements.

After roof repairs are complete, the contractor will be responsible to clean up all dirt and debris.

Purchasing Department                                                                                    RFP #2-003

BOARD OF EDUCATION, OGDEN CITY, UTAH

Room No. 210

1950 Monroe Blvd.

Ogden, Utah

Quote your lowest net price, terms, and time of delivery on the following items F.O.B. Ogden City School District.

Bids will be received until 3:30 p.m. MDT, February 14, 2012.

Furnish and install, as hereafter specified, labor and all materials as hereafter specified, including the furnishing of all labor, plant, equipment, appliances, and material for performing the operation in connection with the construction at Highland Jr. High School.

Total Materials and Labor			$__________________

The price inserted must be net and is to include delivery charges, transportation to site and any other surcharge. The price must be good for one year.

BONDS:  A certified check or bid bond of not less than five percent [5%] of the amount of the bid is to accompany the bid. The bid bonds of the unsuccessful bidders will be returned within 5 days after the award of the bid.  The Board of Education will also require a 100% full performance and 100% full payment bonds.

Sealed bids will be received until 3:30 p.m. MDT, February 14, 2012 at the office of the Purchasing Agent Administration Building Room 210, 1950 Monroe Blvd., Ogden Utah 84401.  Envelopes to be marked:  "HIGHLAND JR. HIGH GYM ROOF REPAIR RFP #2-003."

The Board of Education reserves the right to accept or reject any or all bids or to make an award of contract based on acceptance of other than low bid.

BIDDER: To complete this information

1. DELIVERY PROMISED _____________________

2. TERMS: Net 30 unless discounts are offered__________________________

3. DATE OF BID _______________________

_____________________________________________

Signature and Title of Person Submitting Bid

____________________________________________

Coordinator of Purchasing Authorized Signature

REQUISITION NO.______________________________

PURCHASE ORDER NO.___________________________

INVITATION TO BID

Sealed bids will be received by the Board of Education of Ogden City School District for the Highland Jr. High Gym Roof Repair.  Bids will be in accordance with drawings and specifications prepared by Ogden City School District and the same may be obtained from the Ogden City School District beginning January 30, 2012.

A Pre-Bid walk through meeting will be held at the site of Highland Jr. High School, 325 Gramercy Avenue, Ogden, Utah, commencing at 11:00 a.m. on February 7, 2012.  Attendance at this walk-through is mandatory to qualify contractors to bid this work.

The Director of Support Services at the Administration Building Room 210, 1950 Monroe Blvd., Ogden, Utah 84401 will receive bids until the hour of 3:30 P.M. on February 14, 2012.

A bid bond in the amount of five percent (5%) of the bid, made payable to the Board of Education of Ogden City School District, shall accompany bid.  If a certified or cashier's check is used in lieu of a bid bond, a certificate from an approved surety company guaranteeing execution of a 100% Performance Bond and 100% Payment Bond must accompany bid.

The Board of Education of Ogden City School District reserves the right to reject any or all bids or to waive any informality or technicality in any bid in the interest of the District.

BOARD OF EDUCATION OF OGDEN CITY SCHOOL DISTRICT

KEN CRAWFORD, DIRECTOR OF SUPPORT SERVICES