Ogden City School District

## ADDENDUM

Project Name:	New Maintenance Facility		Addendum No.:  #3

Project Designation:	956 20th Street		Date:	3/12/2013

From:	 Ogden City School District

2444 Adams Avenue

Ogden, Utah 84401

Phone: (801) 625-8704

This Addendum forms a part of the Contract Documents and modifies the original Bidding Documents.  Acknowledge receipt of this Addendum in the space provided on below and submit a copy of this Addendum with your Bid Form.  Failure to do so may subject the Bidder to disqualification.

This Addendum consists of _____ page(s).

CHANGES TO DRAWINGS/SPECIFICATIONS:

- Point of clarification, all utilities including electrical and gas are the responsibility of the contractor to run from the existing building to the new additions.

- See the information for the overhead roll-up door specs in the revised plans on sheet A2 and for the R-value of insulation.

- The interior light fixtures for both buildings shall be a standard 4-tube T8 to be approved by the owner

- This project is a tax-exempt project.  The successful bidder will receive the necessary paperwork after the bid opening on March 14th, 2013.

### END OF ADDENDUM

Signature of receipt of Addendum__________________________________