EVAPORATIVE COOLER PROJECT SPECIFICATIONS

Ogden School District

956 20th Street

Ogden, UT 84401

RFP#7-007

Project Dates: June 20th-August 7th 2017

Project:

Mound Fort Junior High School

1396 Liberty Avenue

Ogden UT

Contents:

This manual contains the following:

- Notice to Bidders

- Instructions to Bidders

- Site Work

- Bid Form

Notice to Bidders

- Project

Provide and Install 9 Evaporative coolers, and barometric pressure relief dampers.

- Attendance at the pre-bid meeting is required for bidding. The Mandatory bid walk is schedule for June 2nd 2017 at 10:00am

- Location

Mound Fort Junior High School

1396 Liberty Avenue Ogden, UT

- Owners Representative

Jared Cherry

Ogden School District

956 20th Street

Ogden, UT 84401

801-430-1293

cherry@ogdensd.org

- The owner reserves the right to accept or reject any or all bids.

Instructions to Bidders

- Scope of Contract:

Contractor shall be fully responsible for all labor, fees, materials and equipment necessary to complete the evaporative cooler installation as required in the Contract Documents

- Requirements before submitting bids:

The site and any building thereon shall be thoroughly examined in relation to the conditions which might directly or indirectly affect the contract work. The bid sum shall reflect all such affecting conditions. Bidders shall be responsible for verifying all dimensions which may affect the work. Bids will not be accepted from contractors that did not attend the pre bid meeting.

- Interpretation of drawings and documents:

If any bidder is in doubt as to true meaning of any part of the contract documents or finds errors, discrepancies or omissions, the bidder shall request interpretation or correction.

- Preparing and submitting bids:

Bids shall be prepared on forms provided at the bid walk.

Bids must be sealed and submitted to our purchasing office June 8th 2017 to 1950 Monroe Blvd Ogden Utah, Bldg #1 room 210 by no later than 2:00pm. Bids must be labeled Mound Fort Junior High Evaporative Cooler Bid RFP 7-007.

It is the bidder’s sole responsibility to see that the bid is received at the proper time.

- Factors affecting contract award:

A bidder’s past performance, organization, subcontractors, equipment and ability to perform and complete the contract in the manner and within the time specified, together with the amount of the bid, will be elements considered in the award of the contract.

- Award or rejection of bid:

The owner reserves the right to accept or reject any or all bids and to waive any irregularity therein

- Acceptance of bid:

No bidder shall consider themselves under contract after opening and reading of bids until a copy of the bid form is returned to the bidder, signed by the owner’s representative. This may be done by e-mail or hard copy. Final decision is pending board approval.

Site Work

- Mound Fort Junior High School

- Contractor shall bid to provide and install (6) 10,000 cfm 2 h.p, single speed, 208 volt Phoenix (PMI) evaporative coolers, and (2) 3,000 cfm and (1) 5,000 cfm evaporative coolers  in specified locations of the building.

- Contractor shall bid to install the evaporative coolers on rails, spanning the trusses, and spud and tar to the roof, cut, flash, and seal the supply duct drop and install a box type four way diffuser as indicated.

- Contractor shall bid to provide electrical and control switches as discussed at  bid walk.

- Contractor shall bid water supply to be connected to the closest sink with a drain and drain valve installed for winter shutdown. The ½” copper water lines will be surface mounted.  Hose bibs installed on the water lines by each cooler for Maintenance. Locations  will be specified at bid walk

- Contractor shall bid to provide cooler covers for each cooler installed and to verify start up and proper operation of the coolers. Include cost to repair grid ceiling around cooler diffusers.

- Contractor shall bid high density roof pipe supports every ______Ln Ft for all electrical conduits and plumbing lines. Ln Ft will be specified at bid walk

- Contractor will bid to remove the upper section above the window in each classroom _____Total. And install an insulated aluminum panel with a barometric damper to allow pressure relief. Total will be specified at bid walk.

- Considerations

- Contractors must conduct all work Monday thru Friday from 6:00am to 4:00pm.

- Contractor must provide all tools and or aerial lifts, ladders  to complete the project

- Subcontractors

- The contractor’s responsibility for this project includes the work of all subcontractors.

- The contractor shall be held responsible to the owner for proper completion and guarantee of all workmanship and material under subcontractors and for the acts and omissions of subcontractors.

- It is expressly understood that there is no contractual relationship between the owner and any subcontractor, and under no circumstances shall the owner be responsible for the non- performance or financial failure of any subcontractor.

- Insurance

- The contractor shall carry liability and Workers Compensation Fund insurance. A Copy of the contractor’s insurance certificate shall be submitted with the bid.

- General

- Contractor shall conform to the scheduling requirements listed on the first page of this document.

- Contractor shall attend a pre-construction meeting on the first day of the project.

- Contractor shall secure work area to prevent unauthorized access

- Contractor shall ensure that there is no unsightly accumulation of debris, materials, personal belongings, tools, etc.

- Tobacco of any kind is not allowed on the owner’s property.

- Alcoholic beverages and Narcotics are not allowed on the owners property.

- Preparing and submitting bids

- Bids shall be prepared on the form provided in the bid packet

- Contractor shall include insurance certificate for review along with the bid

- Bids shall be submitted to 1950 Monroe, Building #1 room 210 on June 8th 2017 no later than 2:00pm. Any bid submitted after that time will not be accepted.

- Bids must be in a sealed envelope and labeled Mound Fort Junior High Evaporative Cooler Bid, and the RFP# 7-007 written on the envelope.

- Bid Bond must be submitted with your bid.

- Bids will not be accepted from bidders who did not attend the bid walk.