Ogden City School District

Maintenance Department

2444 Adams Avenue

Ogden, Utah

March 2, 2009

This proposal will include testing and inspection only of the Fire Alarm Systems for all schools and buildings maintained properties in and under the control of the Ogden School District.

Location:

Elementary Schools

Bonneville Elementary

Dee Elementary

Edison Elementary

Gramercy Elementary

Grandview Elementary

Heritage Elementary

Hillcrest Elementary

Horace Mann Elementary

Lewis Elementary

Lincoln Elementary

Lynn Elementary

James Madison Elementary

Odyssey Elementary

Polk Elementary

Shadow Valley Elementary

T.O. Smith Elementary

C.H. Taylor Elementary

Wasatch Elementary

Jr. High Schools

Highland Jr. High

Mound Fort Jr. High

Mount Ogden Jr. High

High Schools

Ben Lomond High School

Ogden High School

Washington High School

Misc. Buildings

Administration Building

Adult Ed. Building

Astro Camp Building

Early Childhood Building

Professional Development Building

Special Ed. Building

For the first year only, you may include extra hours in the bid due to the need of assembling drawings, maps, create zone lists and log all information about all the schools for continued testing in subsequent years.  Ogden School District will provide available Auto cad drawings or architectural floor plans that can be scanned so drawings can be created with actual device locations for the Fire Marshal and future testing.  After the first year is complete and the documentation is in hand, Ogden School District will want to re-evaluate the labor and make adjustments accordingly.

This proposal will include annual testing for the above listed schools and facilities.  Testing will be performed as indicated below:

TYPE OF SERVICE									SERVICE

PERFORMED										INTERVAL

Testing of the System Control Equipment and Annunciators				12 months

Test 100% of Initiation Detectors, Smoke, Heat, and Duct Detectors			12 months

Test 100% of all Water flow Switches and Tamper Switches				12 months

Test 100% of Manual Pull Stations								12 months

Test 100% of all Alarm Indicating Devices							12 months

Test all Batteries and Charging Circuits							12 months

Check Transfer to Battery Backup								12 months

Test 100% of Magnetic Door Holders for Release						12 months

Instruct and Re-Orient Operating Personnel on System Operation under Fire Condition	12 months

Time Interval Conversion:

12 Months = Annually

CONTACT PERSON:  Any questions pertaining to guidelines and specifications will be directed to:  Ron Worwood, Buildings and Operations Supervisor, Ogden City School District, Telephone—(801)737-8837.

PERMITS AND INSPECTIONS:  The contractor is to obtain and pay for all permits, fees, and charges that may be necessary for fully completing all work herein specified.  He will also notify the owner when the work is completed, giving the owner sufficient time to inspect the job.

CODES AND STANDARDS:  All work included in this specification will meet requirements and regulations of the stated of Utah and the City of Ogden insofar as they apply.

CONTRACTOR:  Upon completions of the work, the contractor will remove all containers and debris, and leave the site in a clean and orderly condition acceptable to the owner.  Contractor will also be responsible for any damage to the property as a result of his construction.

The contractor will guarantee work for a period of one (1) full year against poor workmanship and material failure.  Failure in any of these areas will result in replacement at the contractor’s expense.

Purchasing Department 									Bid #: __9012_____

BOARD OF EDUCATION, OGDEN, UTAH

Room No. 209

1950 Monroe Blvd.

Ogden, Utah

Quote your lowest net price, terms, and time of delivery on the following items F.O.B. Ogden School District.

Bids will be received until 2:00 p.m., March 18, 2009.

Furnish and install, as hereafter specified, and other accessories as hereafter specified, including the furnishing of all labor, plant, equipment, appliances, and material for performing the operation in connection with the construction at the schools and buildings previously listed.

The price inserted must be net and is to include delivery charges, transportation to site and any other surcharge. The price must be good for one year.

BONDS:  A certified check or bid bond of not less than five percent [5%] of the amount of the bid is to accompany the bid. The bid bonds of the unsuccessful bidders will be returned within 5 days after the award of the bid.  The Board of Education will also require a 100% full performance and 100% full payment bonds.

Sealed bids will be received until 2:00 p.m., March 18, 2009 at the office of the Purchasing Department 1950 Monroe Blvd., Ogden Utah 84401.

Envelopes to be marked:  Fire Systems Proposals #9012        .

The Board of Education reserves the right to accept or reject any or all bids or to make an award of contract based on acceptance of other than low bid.

BIDDER: To complete this information

1.  DELIVERY PROMISED _____________________

2.  TERMS: Net 30 unless discounts are offered__________________________

3.  DATE OF BID _______________________

4.  BID PRICE FOR MATERIALS:		                                                          $_________________________

5.  BID PRICE FOR LABOR:                                                                       $_________________________

6.  TOTAL BID PRICE:                                                                                $__________________________

_____________________________________________

Signature and Title of Person Submitting Bid

_____________________________________________

Company Name of Company Submitting Bid

_____________________________________________

Gary Reed, Support Services Director

REQUISITION NO.______________________________

PURCHASE ORDER NO.___________________________

INVITATION TO BID

Sealed bids will be received by the Board of Education of the Ogden City School District for the Fire Systems Project.  Bids will be in accordance with drawings and specifications prepared by Ogden City School District and the same may be obtained from the Ogden City School District beginning March 6, 2009.

The Purchasing Department in the Administration Building, 1950 Monroe Blvd., Ogden, Utah 84401 will receive bids until the hour of 2:00 p.m. on March 18, 2009.

A bid bond in the amount of five percent (5%) of the bid, made payable to the Board of Education of Ogden City School District, shall accompany bid.  If a certified or cashier's check is used in lieu of a bid bond, a certificate from an approved surety company guaranteeing execution of a 100% Performance Bond and 100% Payment Bond must accompany bid.

The Board of Education of Ogden City School District reserves the right to reject any or all bids or to waive any informality or technicality in any bid in the interest of the District.

BOARD OF EDUCATION OF OGDEN CITY SCHOOL DISTRICT

GARY REED, SUPPORT SERVICES DIRECTOR

INSTRUCTIONS TO BIDDERS