OGDEN CITY SCHOOL DISTRICT

MAINTENANCE DEPARTMENT

2444 ADAMS AVENUE

OGDEN, UTAH 84401

PROJECT:                         Boys & Girls Gym Restroom Remodel

Ben Lomond High School – 1080 9th Street

Ogden, Utah

SPECIFICATIONS:

- Remove floor tile and wall tile

- Remove toilet partitions

- Remove all toilets and urinals

- Remove mirrors

- Patch and repair walls

- Install new 2” X 2” ceramic tile (Interceramic) per TCNA F-112 thinset over concrete in Girls and Boys restrooms

- Install new 4” X 4” ceramic tile (Interceramic) per TCNA W-211-07 thinset over floated much in CMU walls in Girls and Boys restrooms.

- Install new metal toilet partitions (metal colored)

- Replace 1 cracked toilet in the boys restroom with a new toilet

- Reinstall soap/mirrors/toilets/ urinals

- Install 2 hand dryers in each restroom

American Dryer eXtreme Air EXT Series Hand Dryers—

LOW ENERGY

Color and Cover Material -- White epoxy on steel

Mounting -- Surface mounted

Model (110-120 volt, 4.5 amp models) -- EXT2-M

Model (208-240 volt, 2.3 amp models) – EXT4-M

- Install 7 e. Wall hung sinks Koler brand 20” X 18” 4 vc Lav Green White (K2032-0)

- Install 7 ea. Sink faucets 2 HDL 3 PUSH Lav FCT CP (C802665CP) Auto shut off

- Repair floor drains that currently leak

- Install 4 ea. New  2 tube T-8 florescent lights

- Reinstall ADA grab bars

- Install 2 ea. New wall vents for return air

GENERAL:     After installation of ceiling tile is complete, the contractor will clean up all dirt, debris, or spots: and clean up with a vacuum cleaner.

CONTACT PERSON:     Any questions pertaining to guidelines and specifications will be directed to:  Jared Cherry, Buildings and Operations Foreman, Ogden City School District, Telephone – (801) 737-8845.

Purchasing Department                                                         Bid No: RFP #1-020

BOARD OF EDUCATION, OGDEN CITY, UTAH

Room No. 209

1950 Monroe Blvd.

Ogden, Utah

Quote your lowest net price, terms, and time of delivery on the following items F.O.B. Ogden City School District.  Bids will be received until 3:00p.m., March 10, 2011.

Furnish and install, as hereafter specified, and other accessories as hereafter specified, including the furnishing of all labor, plant, equipment, appliances, and material for performing the operation in connection with the construction at the school.

Total bid for both restrooms       $_______________

The price inserted must be net and is to include delivery charges, transportation to site and any other surcharge. The price must be good for one year.

Sealed bids will be received until 3:00 p.m., March 10, 2011 at the office of Director of Support Services, 1950 Monroe Blvd., Ogden Utah 84401.

Envelopes to be marked:  “Ben Lomond Gym Restroom Remodel, RFP #1-020.”

The Board of Education reserves the right to accept or reject any or all bids or to make an award of contract based on acceptance of other than low bid.

BIDDER: To complete this information

DELIVERY PROMISED _____________________

TERMS: Net 30 unless discounts are offered__________________________

DATE OF BID _______________________

_____________________________________________

Signature and Title of Person Submitting Bid

_____________________________________________

Company Name of Company Submitting Bid

_____________________________________________

Gary Reed

Director of Support Services

REQUISITION NO.______________________________

PURCHASE ORDER NO._____________________________

INVITATION TO BID

Sealed bids will be received by the Board of Education of the Ogden City School District for the Gym Boys & Girls Restroom Remodel at Ben Lomond High School.  Bids will be in accordance with drawings and specifications prepared by Ogden City School District and the same may be obtained at the pre-bid walk through.

A mandatory pre-bid walk through meeting will be held at the site of Ben Lomond High School, 800 Jackson Avenue, Ogden, UT, commencing at 3:15 p.m. on March 3, 2011.

The Director or Support Services at the Administration Building, 1950 Monroe Blvd., Ogden, Utah 84401 will receive bids until the hour of 3:00 p.m. on March 10, 2011.  Envelopes must be labeled “Ben Lomond Gym Restroom Remodel, RFP #1-020.”

A bid bond in the amount of five percent (5%) of the bid, made payable to the Board of Education of Ogden City School District, shall accompany bid.  If a certified or cashier's check is used in lieu of a bid bond, a certificate from an approved surety company guaranteeing execution of a 100% Performance Bond and 100% Payment Bond must accompany bid.

The Board of Education of Ogden City School District reserves the right to reject any or all bids or to waive any informality or technicality in any bid in the interest of the District.

BOARD OF EDUCATION OF OGDEN CITY SCHOOL DISTRICT

GARY REED, DIRECTOR OF SUPPORT SERVICES

INSTRUCTIONS TO BIDDERS