Ogden City School District

Request for Proposal

RFP #9018

James Madison Elementary School

Electrical / Telecommunications

RFP

Electrical Power

1950 Monroe Blvd.

Ogden, Utah

Invitation for Proposals

Notice is hereby given that Ogden City School District is inviting proposals to provide services for Madison Elementary School (West Portable and Room 120) at 2563 Monroe Blvd. Ogden, Utah 84401.

Electrical

- Hubbell MT10 Series Raceway

- Hubbell MT10 series accessories where required (boxes, plates, etc.)

- Hubbell Power and Communications Pole (10’ or 15’) as required

- Hubbell S1PT4X4AL, Fire-Rated Poke-Through for west portable.

- Power for 16 computers (4 computers per 20A 120V circuit) per room.

- Two duplex outlets per student station

- Power sub panel if required.  Must support future expansion.

Sealed bids will be received by the Board of Education of Ogden City School District at Administration building room 209, 1950 Monroe Blvd. Ogden Utah 84401, April 22, 2009 by 2:00PM. No late bids will be accepted.  Bids will be in accordance with specifications prepared by Technology Supervisor. Bids will be accepted for combined Electrical and Telecommunications or from separate Electrical or Telecommunications contractors. Combined bid must list Electrical and Telecommunication amounts separately.

Contractor is responsible for repairing any damage incurred as part of this proposal.

Contractor is responsible for cleanup as part of this proposal.

The Board of Education of Ogden City School District reserves the right to reject any or all bids or to waive any information or technicality in any bid in the interest of the District.

A Pre-Bid walk through meeting will be held at Administration building room 211, 1950 Monroe Blvd. Ogden, Utah 84401 on April 14, 2009.  The meeting will start at 9:00 AM.  We will visit each site after initial meeting and attendance at walk through is mandatory to qualify.  Sealed bids due April 22, 2009. Bids awarded on April 24, 2009.

Work for this project will start June 1, 2009 and must be completed by July 22, 2009.

  - Electrical / Telecommunications Proposal

- Scope of work

1.	The contractor (Electrical) shall supply all labor and material for a complete functional system as described herein. It will include installing all cabling, conduit or surface molding, faceplates, boxes, 20A 120V circuits, sub panels, power poles, 4x4 Poke-Through, grounding cables.

2	Ogden District will provide scaled floor plans and typical classroom layouts.

- The contractor shall test, document and warranty system.

- Equipment

  - Hubbell Power and Communications Pole 10’ or 15’ where required, no substitutes.

  - Hubbell S1PT4X4AL, Fire-Rated Poke-Through.  Installs in a 4” diameter core drilled hole where required, no substitutes

  - Hubbell MT10, MediaTrack Surface Raceway. All boxes, faceplates and other accessories must be compatible with MT10 series with no substitutes.

  - Four computers per one, 20A 120V circuit.

  - Two duplex outlets per station (Students table)

  - Power and Communication Pole requires one, 20A 120V circuit with two duplex outlets

  - Where new sub panel is required, up size for future expansion         (ex:  200 Amp panel).

- System Requirements

  - Conduit and or surface molding (no exposed cabling to classroom).

  - All equipment locations specified by Ogden School District Technology Supervisor or Network Engineer only.  No changes without their authorization.

  - Cable support must be provided to specifications in tunnels or ceiling areas.

- Contact Information

  - Contact Ogden School District Technology Supervisor at dont@ogdensd.org: Phone 801-737-8815

  - For Electrical Contractor, Ron Worwood at

worwoodr@ogdensd.org: Phone 801-737-8836